## Slide 1
Differential Input
DC Offset Adjust
SMA Output
DC Offset Indicators
Mod #1
Mod #2
Mod #1: Cut pin 3 track to GND, solder it to +VS, this is the PD pin.
Mod #2: Add 1.2 pF between OUT and FB of the amplifier.
Mod #3: Add 12-22 pF (can’t remember exactly) between FB and REF pins of the amplifier.
Mod #3

## Slide 2
Probe Schematic

## Slide 3
Probe Power (up to ±12V)

## Slide 4
Network Analyzer (Port 1)
Network Analyzer (Port 2)
Probe Power
Measurement Setup for Differential Mode Test

## Slide 5
S21 Measurements (Differential Mode, Probe has gain x10)

## Slide 6
Network Analyzer (Port 1)
Network Analyzer (Port 2)
Probe Power
Measurement Setup for Common Mode Test
GND connection between port 1 & port 2
Shorted inputs using jumper

## Slide 7
S21 Measurements (Common Mode)
Noise floor of instrument
Network analyzer configured to display: (Probe CMRR – Instrument Noise Floor)